## Slide 1: Methods of Energy Savings

## Slide 2
1
Introduction
2
General
5
Conclusions
Page 3
Page 4
CONTENTS
Page 9
Optimization
Practical solutions related to measurement
4
3
X
Page 8
Page 6
About PMG Engineering
#

## Slide 3: Introduction
Energy conservation refers to efforts made to reduce energy consumption. Energy conservation can be achieved through increased efficient energy use, in conjunction with decreased energy consumption and/or reduced consumption from conventional energy sources.
Throughout our main workshops and group work activities, we have collected many practical initiatives implemented by the markets in order to achieve energy savings. Below are examples of projects that have been implemented by the different markets.
Notes: 3

## Slide 4: General
Turn off equipment that is not being used.
Investigate possibility of replacing older, inefficient equipment.
Train employees to be energy cautious;
Marketing: Raise awareness through posters, etc.
Energy saving initiatives, employ involvement, share with colleges Energy saving progress.
Size motors for the actual process requirements to avoid over sizing.
Use energy efficient motors for new projects or motor replacements; examine potential energy savings for replacing existing standard motors.
Include investigation of possible compressed air leakages during factory stoppages.
Ensure office equipment is energy efficient
Include infrared inspection in your predictive maintenance program
When leaving for hours always log out and turn your desktop computer off. If a computer needs to be available for remote access, turn off the monitor. The screensaver isn’t an energy saver.
Notes: 4

## Slide 5: Practical Solutions Related To Measurement
Electrical metering to measure and analyze power consumption, capture
Check your actual energy needs and renegotiate your utility deal.
Monitor and control of power factor of plant to help avoid penalty charges from the utility.
Power quality monitoring and correction: Correct power problems using tools by companies such as Electro flow, or other PF (Power Factor) or power filtering/conditioning methods.
Planned maintenance and cleaning performed during peak electricity hours.
Notes: 5

## Slide 6: Optimization
During weekends or at times of reduced production, the sequence of operation of compressors can be changed to start the smaller compressors first and the larger compressors last.
Air puff actuators. Automatic stopping when line shuts down
Perform loop tuning as part of the maintenance activities to increase line efficiency.
Add motor circuit analysis in motor system maintenance activities.
VSD (Variable Speed Drives) for large centrifugal pumps and fans.
VSD on wastewater treatment plant aerators. Blower motor speed can be controlled based on dissolved oxygen levels.
VSD for refrigeration compressor.
VSD for cleaning pumps.
Use of motion detecting switches for lighting control.
Use of energy efficient lamps and electronic ballasts.
Use of skylights/solar tubes to supplement lighting.
Notes: 6