## Slide 1: Major\ Minor Electrical Equipment

## Slide 2
1
Major Electrical Equipment
2
Minor Electrical Equipment
Page 3
Page 4
CONTENTS
About PMG Engineering
X
#

## Slide 3: Major Electrical Equipment
Major electrical equipment
MV/LV Switchgear/Switchboards
Transformers
Motor Control Centers/Panels
Bus bar Trunking
Cable Bus
Generators
UPS (Uninterruptible Power Supplies)
Power Factor Correction equipment (capacitors, controller, contactors, etc.)
Variable Frequency Drives (VFD’s)
Electric Heat Trace
Notes: 3

## Slide 4: Minor Electrical Equipment
The following equipment can be considered commodity items which can be covered in a general electrical equipment and installation specification:
  Cable/Wire and Termination kits
  Cable Tray
  Conduit and Conduit Fittings
  Termination/Junction Boxes
  Safety/Disconnect Switches
  Receptacles and Light Switches
  Lighting Fixtures
Notes: 4